## Slide 1: AP Chemistry Inquiry Lab 1

## Slide 2: Inquiry 1
A stock solution of the blue #1 (Brilliant Blue) molecule dissolved in water with a known concentration of 9.292 M is provided in the back of the room. There is only one chemical species in the solution for which you will be measuring transmittance.

## Slide 3: Inquiry 1
Group 1 collects %transmittance data for the following dilutions of stock/water:
10 mL stock/0 mL water
8 mL/2 mL
Group 2 collects %transmittance data for the following dilutions:
6 mL/4 mL
4 mL/6 mL
Group 3 collects %transmittance data for the following dilutions:
2 mL/8 mL
0 mL/10mL
Group 4 collects % transmittance data for the following dilutions:
3 mL/7 mL
1 mL/9 mL

## Slide 4: Inquiry 1
Solution | Dilution Ratio mL stock/ mL water | Molar Concentration (μM) | Measured percent Transmittance | Measured %T in Decimal Form
1. stock | 10ml:0ml | 9.3 μM | 1.113% | .01113
2 | 8ml:2ml | 7.44 | 2.101% | .02101
3 | 6mL:4mL | 5.58 | 6.299% | .06299
4 | 4mL:6mL | 3.72 | 14.105% | .14105
5 | 3ml:7ml | 2.79 | 22.122% | .22122
6 | 2ml:8ml | 1.86 | 61.926% | .61926
7 | 1ml:9ml | 0.93 | 68.199% | .68199
8 | 0ml:10ml | 0 | 97.619% | .97619

## Slide 5: Inquiry 1
Step 5: Determine the relationship between transmittance and molarity of the solution. Graph the data in the data table (plot μM on the x-axis versus transmittance as a decimal on the y-axis).
You should see that there is a relationship between transmittance and concentration but that such a relationship is not linear.

## Slide 6: Inquiry 1
Try to find a linear relationship by graphing the following relationships:
1/T versus [dye]
1 × 10T versus [dye]
logT versus [dye]
–logT versus [dye]